September 13, 2007

SPECIAL COUNCIL MEETING – MINUTES

On Thursday, September 13th, 2007 Council of the Corporation of the Township of South Algonquin held a special meeting. Councillors present:  Joe Florent; Dave Harper; Randy Jessup; Robert Ogilvie and Richard Shalla with Councillor Sid James presiding.

Regrets:  Mayor Percy Bresnahan

TOWNSHIP STAFF PRESENT:

Harold Luckasavitch – Clerk Treasurer Geraldeen Dubreuil – Deputy Clerk;

Gerald Dunn – Works Superintendent/CBO.

GUESTS PRESENT:  four (4) observer present at this meeting.

Moved by:  R. Ogilvie			Seconded by:  R. Shalla		Res. #07-425

“That Council for the Corporation of the Township of South Algonquin calls to order the Special Council Meeting of September 13th, 2007 at 6:00 p.m. called for the purpose of reviewing information received regarding the repairs to the Municipal Office in Madawaska.”

-Carried-

Moved by:  J. Florent			Seconded by:  R. Jessup		Res. #07-426

“That Council for the Corporation of the Township of South Algonquin adopts the agenda as prepared and circulated and amended for the meeting of September 13th, 2007.”

-Carried-

DISCLOSURE OF PECUNIARY INTEREST:  None at this time.

Prior to proceeding forward with the meeting Councillor James took a few moments to briefly review what had happened to date with respect to the municipal office building in Madawaska.

Council’s review and discussion with respect to the information received from Buelow Engineering Ltd. (Mechanical & Electrical Modifications / Upgrades and Structural Requirements):

Council suggestions/recommendations:

- pour a concrete slab floor in crawl space

- leave HRV unit in crawl space

- extend duct work to all outside walls in the crawl space and under the foyer

- possibly reuse the existing ridged foam insulation

GUEST PRESENT:  Kevin Dooley, Drytech International (Disaster Support Specialist) attended this meeting to update Council with respect to the status of mould situation at the municipal office building in Madawaska and recommend alternatives/revisions to the drawings prepared by Buelow Engineering Ltd.

Kevin Dooley’s comments/recommendations:

- moisture readings were taken on all outside wall in the crawl space and the building had improved over the summer but still recommended the use of a drying mechanism to finish drying all areas

- price submitted earlier by Drytech International for the mould remediation would still be within range for completing that work

- brief review of possible alternatives/revisions to the drawings prepared by Buelow Engineering Ltd. for Council’s consideration

- cost for Drytech International to do the mould remediation, structural and mechanical repairs to the municipal building in Madawaska would be approximately $140,000.00 and the work would be completed within three (3) weeks to one (1) month

- the Township would be responsible for hiring a specialist to perform an air quality test after the mould remediation stage was completed - if the building did not pass the air quality test and Drytech had to perform extra work these costs would be up and above the estimate quote

During Mr. Dooley’s session of comments/recommendations Council was given ample opportunities to ask questions and have their concerns addressed with respect to the above mentioned issues.  Once Council was satisfied and had no further questions Mr. Dooley left the meeting.

Council continued their review and discussion with respect to the information received from Buelow Engineering Ltd. and the new information presented by Kevin Dooley, Drytech International:

Council suggestions/recommendations:

- require extra support under the area of the vault

- utilize spray in place foam insulation instead of insulation batts - less time consuming

- establish a site meeting date for tender

Councillor Florent requested a recorded vote on the following resolution.

Moved by:  R. Shalla				Seconded by:  D. Harper		Res. #07-427

“After reviewing the plans prepared by Buelow Engineering Ltd. Council has a number of questions regarding the drawings (No. 32297).  Therefore Council invites Buelow Engineering to attend a meeting of Council to clarify concerns, also revise plans afterwards in order that tenders can be requested.”

J. Florent – No	R. Jessup – No	R. Ogilvie – No	D. Harper – Yes

R. Shalla – Yes	S. James – Yes

-Defeated-

Prior to voting on the following resolution Councillor Shalla excused himself from the meeting and left.

Councillor Jessup requested a recorded vote on the following resolution.

Moved by:  R. Ogilvie			Seconded by:  R. Jessup		Res. #07-428

“That Council requests the Clerk to advertise in the Barry’s Bay This Week, a request for tender on the mould and structural remediation of the Municipal Building.  Details for the tender to be determined by Council at the next Council Meeting or before.”

R. Jessup – Yes	J. Florent – Yes	D. Harper – No	R. Ogilvie – Yes

-Carried-

Moved by:  J. Florent			Seconded by:  R. Jessup		Res. #07-429

“Whereas it is felt that a meeting with Richard Buelow is required to change certain items; and Whereas it is imperative that such meeting occur before the next Council Meeting.  Therefore if it can be arranged to meeting before Thursday the 20th September, that the Clerk arrange it and notify Council.”

-Carried-

Councillor James to prepare a brief summary of Council’s suggestions/recommendations for revisions to the drawings and specification completed by Buelow Engineering Ltd. for the municipal office building in Madawaska and forward a copy to all members of Council and Richard Buelow prior to Tuesday, September 18th, 2007 meeting of Council.

Moved by:  R. Ogilvie			Seconded by:  D. Harper		Res. #07-430

“That Council for the Corporation of the Township of South Algonquin adjourns the special meeting of September 13th, 2007 at 9:35 p.m.”

-Carried-

______________________________________		______________________________

(Mayor – Percy Bresnahan)				        	(Clerk– Harold Luckasavitch)